## Feature set
Feature set |  | Feature by Release and Priority
This Release 1.0
Functional area |  | Feature ID | Features | User profile | Report | Help
1. Login and user profile | Essential | F-0000 | Site configuration
|  | F-0100 | User registration | Heart rate monitoring | SpO2 Monitoring | Skin/body Temperature tracking
|  | F-0101 | User profile editting
|  | F-0102 | User login | Body measurement monitoring | Sleep Monitoring | Fertility tracking
| Expected | F-0103 | Forgotten password replacment
|  | F-0104 | Password quality check | Fitness tracking | Mental status/Stress Monitoring | Position monitoring
|  | F-0105 | User profile check
2. Heart rate monitor | Essential | F-0200 | Heart rate monitor settings
|  | F-0201 | Current HR measurement
|  | F-0202 | HR rest measurement
|  | F-0203 | Signal strength measurement
|  | F-0204 | HR max estimation method 1
|  | F-0205 | HR max estimation method 2
|  | F-0206 | Accuracy indication
|  | F-0207 | Tracking Current HR cardiograph
|  | F-0208 | Tracking HR history
|  | F-0209 | Analyzing HR thresholds
|  | F-0210 | Analyzing Current HR cardiograph
|  | F-0211 | Diagnosis based on HR rest
|  | F-0212 | HR recommendation
|  | F-0213 | Report HR monitor
|  | F-0214 | Guide how to measure HR rest
|  | F-0215 | Information about how to estimate HR max
|  | F-0216 | Information about accuracy indication
| Expected | F-0217 | Diagnosis based on HRV
|  | F-0218 | HRV recommendation

## UC suite
Use case suite |  | Feature by Release and Priority
|  | This Release 1.0 |  |  |  | Use case ID
Functional area |  | Feature ID | Features | Use cases | Watch | App | Site
1. Login and user profile | Essential | F-0000 | Original configuration | Original Configuration
|  | F-0100 | User registration | Register as a new user
|  | F-0101 | User profile editting | Edit user profile
|  | F-0102 | User login | User login
| Expected | F-0103 | Forgotten password replacment | Request new password
|  | F-0104 | Password quality check | Check password quality
|  | F-0105 | User profile check | Check user profile information
2. Heart rate monitoring | Essential | F-0200 | Heart rate monitor settings | Start/Stop HR monitoring feature
Select HR max estimation method
|  | F-0201 | Current HR measurement | Measure current HR
Display current HR
|  | F-0202 | HR rest measurement | Measure current HR rest
Save HR rest measurement
|  | F-0203 | HR signal strength measurement | Get the HR signal strength
|  | F-0204 | HR max estimation method 1 | Estimate HR max method 1
Display HR max method 1 result
|  | F-0205 | HR max estimation method 2 | Estimate HR max method 2
Display HR max method 2 result
|  | F-0206 | HR Accuracy indication | Estimate accuracy of current HR measurement based on the signal strength
Display current HR measurement accuracy level
|  | F-0207 | Tracking Current HR cardiograph | Display current HR cardiograph
|  | F-0208 | Tracking HR history | Select tracking interval
Display HR history in the selected interval (in graph)
Display HR rest history in the selected interval
Display HR max threshold lines on tracking graph
|  | F-0209 | Analyzing HR thresholds | Select HR rest analysis interval
Check HR rest threshold in the selected interval
Display HR rest out of threshold on tracking graph
|  | F-0210 | Analyzing Current HR cardiograph | Select HR analysis interval
Filter HR cardiograph data to remove artifact and noise
Select HR analysis method
SDANN - the standard deviation of the average NN intervals calculated over short periods, usually 5 minutes.
RMSSD - the square root of the mean squared difference of successive NNs
NN50 - the number of pairs of successive NNs that differ by more than 50 ms
pNN50 - the proportion of NN50 divided by total number of NNs
|  | F-0211 | Diagnosis based on HR rest | HRrest < 50BPM_Diagnostics: Bradycardia
Display brief information of Bradycardia
HRrest > 100 BPM _Diagnostics: Tachycardia
Display brief information of Tachycardia
Display and save diagnostic result
|  | F-0212 | HR recommendation | HRrest < 50BPM_Diagnostics: Bradycardia_Recommendation: See your doctor
HRrest > 100 BPM_Diagnostics: Tachycardia_Recommendation: See your doctor if you are not in physiological conditions
Display and save recomendation result
|  | F-0213 | Report HR monitor | Select report settings: interval, type, information
Display report result
Save report result to file
|  | F-0214 | Guide how to measure HR rest | Show guide how to measure HR rest
Show [Kolata01] method calculation
Show [Gatti96] method calculation
|  | F-0215 | Information about how to estimate HR max | Information about how to estimate HR max
|  | F-0216 | Information about accuracy indication | Information about accuracy indication
|  | F-0217 | Diagnosis based on HRV | Diagnosis based on HRV
|  | F-0218 | HRV recommendation | HRV recommendation
|  | F-0219 | HR calibration | HR calibration
3. Fitness tracking |  |  | Fitness tracking configuration | Start/Stop feature
|  |  | Heart rate settings | Select target HR max calculation method
Select HR measurement sample rate
|  |  | Exercise mode settings | Select exercise mode
|  |  | Custom exercise programs | Select target HR calculation method
Custom exercise programs
Audio setting when transition from one stage to another stage
|  |  | Check HR rest data availability | Check HR rest data availability
Request HR rest measurement if not available
|  |  | Current HR measurement | Measure current HR repeatitively
|  |  | Target HR calculation | Check target HR calculation method
Calculate target HR using general gender-age method
Calculate target HR using [Karvonen88] method
|  |  | Target HR calculation with different zones | Check target HR calculation with different zones method
Calculate target HR with differrent zones using genaral method
Calculate target HR with differrent zones using Zoladz method
|  |  | Heart rate tracking | Start/stop exercise tracking
Indicate current mode, program, stage, zone
Alarm if transition from one zone to other
Alarm if current HR is outside the target zone
Alarm if the current HR is higher HR max
Display time in zones (countdown)
|  |  | Heart rate analysis | Calculate average heart rate of the exercise
Get maximum HR of exercise
|  |  | HR in different zones analysis | Calculate average HR in different zones
Get maximum HR of different zones
|  |  | Pedometer settings | Target setting
Remind setting
Reset feature configuration to default values
|  |  | Calories burned settings | Select calories burned calculation method
|  |  | Basic pedometer measurement | Step count
Get the walking/running time
|  |  | Basic pedometer calculation | Estimate current speed
Estimate average speed
Estimate step size based on gender and height
Estimate current distance
|  |  | Calories burned calculation | Check calories burned calculation method
Calculate using [Keytel05] method
Calculate using [Dugas05] method table 3
|  |  | Activity tracking | Start/stop pedometer
Display step count
Display walking/running time
Display average speed
Target remind
|  |  | Activity evaluation | Evaluate activity over time through target distance
Activity suggestions
|  |  | Fitness tracking report | Exercise - Display date, time, duration
Display exercise program
Display statistics: time in zones, average HR, maximum HR
Display pedometer report
Display calories burned report
Print fitness tracking report
|  |  | Help - fitness tracking | Information about target HR
Information about target HR zones
Information about Calories burned
4. SpO2 monitoring |  |  | SpO2 monitoring settings | Start/Stop feature
|  |  | Tracking mode settings | Select tracking mode
Custom warning threshold for each tracking mode
Custom measurement period for each tracking mode
|  |  | SpO2 measurement | Check SpO2 measurement device availability
Check SpO2 measurement device validity
Get SpO2 value
Display SpO2 value
|  |  | SpO2 signal strength measurement | Get the SpO2 signal strength
|  |  | SpO2 Accuracy indication | Estimate accuracy of current SpO2 measurement based on the signal strength
Display current SpO2 measurement accuracy level
|  |  | SpO2 tracking | Check SpO2 tracking mode
Display current SpO2 tracking mode
Display SpO2 graph vs time of each tracking mode
|  |  | SpO2 alarm | Alarm if SpO2 level out of tracking mode threshold
Display notification if SpO2 level out of tracking mode threshold
|  |  | SpO2 history | Select display interval
Display SpO2 history graph in selected interval
Display warning history in selected interval
|  |  | SpO2 Statistical analysis | Select analysis interval
Calculate statistical params: mean, max, min, std
|  |  | Analysis for normal monitoring | Normal - check SpO2 level<90%
|  |  | Diagnostics for normal monitoring | Normal - warning if there is SpO2 levels <90%
|  |  | Recommendation for normal monitoring | Normal - SpO2 levels <90%, recommendation: See your doctor
|  |  | Analysis for sleep apnea syndrome monitoring | SAS - check SpO2 level<90%
SAS - check SpO2 values changes <=4%
|  |  | Diagnostics for sleep apnea syndrome monitoring | SAS - warning if there are series of SpO2 level < 90%
SAS - warning if SpO2 values changes <=4%
SAS - requesting clinical score if there is warnings
SAS - checking clinical score
|  |  | Recommendation for sleep apnea syndrome monitoring | SAS - recommendation if having warnings
|  |  | Analysis for COPD patients | COPD - check SpO2 level<92%
|  |  | Diagnostics for COPD patients | COPD - warning if SpO2 level < 92%
|  |  | Recommendation for COPD patients | COPD - Recommendation: see your doctor immediately if SpO2 < 92%
|  |  | Analysis for patients on long-term oxygen therapy | LOT - check SpO2 level<90%
|  |  | Diagnostics for patients on long-term oxygen therapy | LOT - warning if SpO2 level<90%
|  |  | Recommendation for patients on long-term oxygen therapy | LOT - Recommendation: see your doctor immediately if SpO2 < 90%
|  |  | Analysis for asthma patients | Asthma - check SpO2 level<92% (before treatment with broncholidators)
|  |  | Diagnostics for asthma patients | Asthma - warning if SpO2 level < 92%
|  |  | Recommendation for asthma patients | Asthma - Recommendation: see your doctor immediately if SpO2 < 92%
|  |  | Analysis for acute respiratory infections | ARI - check SpO2 level<92% (in a previous healthy individual who is not receiving oxygen therapy)
|  |  | Diagnostics for acute respiratory infections | ARI - warning if SpO2 level < 92% (in a previous healthy individual who is not receiving oxygen therapy)
ARI - checking clinical features CRB65
|  |  | Recommendation for acute respiratory infections | ARI - Recommendation
|  |  | SpO2 monitor Report | Select report settings: interval, type, information
Display report result
|  |  | Help - SpO2 monitoring | Limitations
Warning signs
Troubleshooting
Diseases related to the decrease in SpO2%
|  |  | SpO2 calibration | SpO2 calibration
5. Sleep monitoring |  |  | SpO2 monitoring settings | Start/Stop feature
|  |  | Set wake up alarm | Enable/Disable wake up alarm
Select Auto based on sleep time estimation or Manual
|  |  | Get measurement parameters | Get activity level from sensor
Get HR from measurement device
Get skin resistance from measurement devide
Get ambient temperature from measurement devide
|  |  | Sleep tracking | Display sleep graph of time vs wake up time, sleep quality, duration indication of one night
Select tracking interval
Display sleep graph of multi night
|  |  | Sleep analysis | Determine resting heart rate from HR
Determine number of wake up times from activity level and HR
Determine Sleep duration estimation from activity level, HR and wake up times
Determine Sleep quality from activity level, HR and skin resistance
|  |  | Sleep statictics | Estimate mean, std of sleep params: Number of wake up times, sleep quality, sleep duration over a long time (1 month for example)
Compare to general ranges
|  |  | Diagnostics for sleep duration | Evaluate risk in increase of Diabetes based on sleep duaration, age and BMI
Evaluate risk in increase of BMI and obesity based on sleep duaration
Evaluate risk in increase of coronary heart disease in women
Evaluate risk in increase of Hypertension
|  |  | Recommendation for sleep duration | Recommend risk in increase of Diabetes based on sleep duaration, age and BMI
Recommend risk in increase of BMI and obesity based on sleep duaration
Recommend risk in increase of coronary heart disease in women
Recommend risk in increase of Hypertension
|  |  | Report sleep monitoring | Select report settings: interval, type, information
Display report result
|  |  | Sleep monitoring calibration | Sleep monitoring calibration
6. Body measurement |  |  | Body measurement settings | Check availability of parameters needed for the calculation
Request parameters if needed
Select idea weight calculation method
|  |  | Body measurement | Get parameters needed for the calculation
|  |  | Body measurement Calculation | Body Mass Index (BMI)
Check ideal weight calculation method
Calculate ideal weight based on medical
Calculate ideal weight based on formula
Waist to Hip Ratio (WHR)
Check BF% chart selected
Calculate BF% method 1
Calculate BF% method 2
Calculate BF% method 3
Calculate Lean Body Weight (LBW)
Calculate muscle percentage
Check BMR calculation method
Calculate BMR method 1 (Roza Shizgal)
Calculate BMR method 2 (Mufflin)
Calculate BMR method 3 (Katch-McArdle)
Calculate BMR method 4 (Cunningham)
Calculate Calories needs per day
Calculate metabolic age
|  |  | Body measurement tracking | Select interval
Display body measurement history
|  |  | Diagnostics - BMI | Evaluate health risk based on BMI range
|  |  | Diagnostics - Ideal Weight | Evaluate current weight with ideal weight
|  |  | Diagnostics - Waist to Hip Ratio (WHR) | Compare Waist to Hip Ratio to abdominal obesity threshold and Increased health risk threshold
|  |  | Diagnostics - Body Fat Percentage (BF%) | Check BF% chart selected
Compare BF% to Tanita chart, get diagnostic result
Compare BF% to Brainy chart, get diagnostic result
|  |  | Diagnostics - Metabolic age | Compare age with metabolic age
|  |  | Recommendation - BMI | Recommendation on health risk based on BMI range
|  |  | Recommendation - Ideal Weight | Recommend # of lbs/kgs user should get/lose compare to ideal weight
|  |  | Recommendation - Waist to Hip Ratio (WHR) | Give recommendation base on diagnostic results
|  |  | Recommendation - Body Fat Percentage (BF%) | Give recommendation base on diagnostic results: # of lbs/kgs user should get/lose based on healthy range
|  |  | Recommendation - Metabolic age | Recommend for diagnostic result
|  |  | Body measurement report | Select report settings: interval, type, information
Display report result
|  |  | Help | Display explaination of body measurement parameters, formula
7. Skin/body temperature monitoring |  |  | Skin/body temperature monitoring settings | Load defaults
Manual setting: Time, Duration, Warning threshold
|  |  | Temperature measurement | Check device availability
Get temperature value from device
|  |  | Temperature Tracking | Select interval
Display graph of temperature vs time
Display graph of average temperature vs date
Dislay warning thresholds
|  |  | Statistical analysis | Calculate mean, std of temperature in a day
Check if body temperature > 99.6 degree and < 103 degree
if body temperature > 103 degree, check if skin resistance decreases and HR increase
Check if body temperature > 103 degree
if body temperature > 103 degree, check if skin resistance decreases and HR increase
|  |  | Diagnosis | if body temperature > 99.6 and < 103 degree, diagnose as fever
if body temperature > 103 degree, skin resistance decreases and HR increases, ask user other indications: diziness, headache, nausea, user is over 65. If yes, diagnose as heat stroke
|  |  | Recommendation | if diagnosed as fever, user should come to see doctor
if diagnosed as heat stroke, user needs to cool down quickly and call for help immediately
|  |  | Temperature monitoring report | Select report settings: interval, type, information
Display report result
8. Fertitlity monitoring |  |  | Fertitlity monitoring settings | Start/Stop feature
Select measurement mode Auto or manual
|  |  | Temperature measurement | Check measurement mode
Auto - measuring temperature based on wake up detection in sleep tracking
Manual temperature measurement
|  |  | Fertitlity Tracking | Select interval
Display graph of temperature vs date
Select beginning day of each period
Interpolate temperature value values of an ommited day (if any) based on the previous day and the next day values
|  |  | Statistical analysis | Calculate number of day of periods
Calculate variation of period
|  |  | Advanced notice most fertility date | Advanced notice most fertility date based on temperature and beginning day of periods
|  |  | Fertitlity monitoring report | Select report settings: interval, type, information
Display report result
9. Stress monitoring |  |  | Mental status settings | Start/Stop feature
Set HR sample rate
Set GSR sample rate
Set accelerometer sample rate
|  |  | Mental status Calibration | Mental status Calibration
|  |  | Mental status Measurement | Get HR from measurement device
Get Skin resistance from measurement device
Get Blood Pusle volume from measurement device
Get x, y, z-axis accelerometor data from measurement device
|  |  | Mental status Tracking | Select interval
Display graph of parameters vs time
|  |  | Mental status analysis | Evaluate metal status level with respect to HR, skin resistance, HRV and activity data
|  |  | Mental status report | Select report settings: interval, type, information
Display report result
|  |  | Help | Display explaination of stress measurement parameters, formula
10. Position monitoring |  |  | Position monitoring settings | Start/Stop feature
Custom thresholds
|  |  | Position Measurement | Get activity level from measurement device
|  |  | Position Tracking | Select interval
Display graph of activity vs time
Display warnings if any
|  |  | Position Analysis | Set warning if the activity level is out of range
11. Patient report |  |  | Patient report settings | Select full report or short report
Select functions will be reported
Select graph type: running chart, bar, color pattern
Select table type
Select interval
|  |  | Patient report tracking | Get data from global database
Display report as settings
Print report
Export

## Database
| Input | Output
User profile
login info | login
password
security question
security answer
last login
authorized users
contact info | email
first name
last name
date of birth
gender
address
postal
city
state/province
country
measurement info | height
weight
waist
hip
neck
configuration info | creation date
language
inbox notify
measurement system
feature info | heart rate
fitness
SpO2
Sleep
Body
Temperature
Fertility
Stress
Position
Heart rate
| Enable/Disable | HR
| HR | HR rest
| HR rest | HR max
| HR max estimation method | HR accuracy level
| HR signal strength | HR rest checking result
| HR raw data | Cardiograph/photoplethysmogram
| HR analysis method | SDNN
| HR analysis interval | RMSSD
| age | Diagnosis result
| gender | Recommendation result
| date | Guide
| time | Warning
sampling rate
Fitness tracking
| Enable/Disable | target HR (age-gender based method)
| target HR calculation method | target HR (Karvonen method)
| HR measurement sample rate | target HR different zones (age-gender based method)
| Exercise program selection | target HR different zones (Zola method)
| HR rest | Exercise programs
| HR max | Favorite exercise program
| HR | current target HR zone
| gender | average HR of exercise
| age | exercise duration
| weight | maximum HR of exercise
| pmHR | average HR different zones
| date | time in different zones
| time | maximum HR in different zones
| mesurement system | Warning
| step count | step count
| target distance | current pedometer duration
| calories burned calculation method | current speed
| activity factor | step size based on gender and height
current distance
current calories burned
average speed
calories burned per minute
total calories burned
distance today
calories burned today
calories need per day
Activity suggestions
SpO2 monitoring
| Enable/Disable | SpO2 value
| tracking mode | Accuracy level
| warning threshold for each tracking mode | current SpO2 tracking mode
| SpO2 signal strength | current warning threshold
| SpO2 value | current checking result
| date | Warning
| time | SpO2 graph
SpO2 statistical analysis: mean
SpO2 statistical analysis: max
SpO2 statistical analysis: min
SpO2 statistical analysis: std
SpO2 statistical analysis: percent change
Diagnostic result
Recomendation
Sleep monitoring
| Enable/Disable | sleep/wakeup detection
| Enable/Disable wake up alarm | number of wake up times
| wake up alarm settings[auto/manual] | sleep quality
| activity level | sleep duration
| HR | sleep graph
| Skin resistance | Diagnostic result
| ambient temperature | Recommendation
| humidity | Warning
skin/body temperature
date
time
Body measurement
| gender | Body Mass Index (BMI)
| age | BMI prime
| weight | Ideal weight
| height | Waist to Hip Ratio (WHR)
| waist | Body Fat Percentage (BF%)
| hip | Lean Body Weight (LBW)
| neck | muscle percentage
| measurement system | BMR
| ideal weight calculation method | calories needs per day
| BF% calculation method | metabolic age
| BMR calculation method | Diagnostics - BMI
| LBW calculation method | Diagnostics - BMI Prime
| activity factor | Diagnostics - Ideal Weight
| date | Diagnostics - Waist to Hip Ratio (WHR)
| time | Diagnostics - Body Fat Percentage (BF%)
Diagnostics - Metabolic age
calories needs per day
Recommendation - BMI prime
Recommendation - Ideal Weight
Recommendation - Waist to Hip Ratio (WHR)
Recommendation - Body Fat Percentage (BF%)
Recommendation - Metabolic age
Warning
Temperature
| Enable/Disable | Temperature
| operating mode: Auto/Manual | Warning thresholds
| Time of measurements | Statistical analysis: mean
| Warning thresholds | Statistical analysis: std
| Temperature | Diagnostic result
| skin resistance | Recommedation
Ambient temperature
HR
age
date
time
Fertility
| Enable/Disable | Temperature graph
| Measurement mode Auto or manual | Beginning date of each period
| Time of measurements | Number of days of each period
| Temperature | Date of minimum temperature of each period
| date | Date of maximum temperature of each period
| time | Variation of periods
Most fertility date for next period
Stress
| Enable/Disable | Stress level
| HR | Diagnostic result
| Skin resistance | Recommendation
| Blood Pusle volume | Warning
date
time
Position
| Enable/Disable | Motion detection
| Activity level | Warning
Thresholds
Report

## HR
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
2 | Heart rate (HR) | Enable/Disable HR monitoring feature | Enable/Disable HR monitoring feature | Current heart rate | Measure current HR | HR max estimation method 1 | Estimate HR max method 1 | Current HR cardiograph | Display current HR cardiograph | HR thresholds | Select HR rest analysis interval | Diagnosis based on HR rest | HRrest < 50BPM _Diagnostics: Bradycardia | Recommendation | HRrest < 50BPM _Diagnostics: Bradycardia _Recommendation: See your doctor | Report HR monitor | Select report settings: interval, type, information | Guide how to measure HR rest | Show guide how to measure HR rest
|  |  | Select HR max estimation method |  | Display current HR |  | Display HR max method 1 result |  | Display HR cardiograph |  | Check HR rest threshold in the selected interval |  | Display brief information of Bradycardia |  | HRrest > 100 BPM _Diagnostics: Tachycardia _Recommendation: See your doctor if you are not in physiological conditions 1. Exercise 2. Pregnancy 3. Emotional conditions such as anxiety or stress. |  | Display report result | Information about how to estimate HR max | Show [Kolata01] method: Men: age adjusted HRmax = 220 - age Women: age adjusted HRmax = 226 - age error: 7-11 bpm
|  |  | Select auto cardiograph tracking | HR rest | Measure current HR rest | HR max estimation method 2 | Estimate HR max method 2 | HR history | Select tracking interval |  | Display HR rest out of threshold on tracking graph |  | HRrest > 100 BPM _Diagnostics: Tachycardia |  | Display and save recomendation result |  | Save report result to file |  | Show [Gatti96] method: Men: age adjusted HRmax = 205.8 - (0.685 × age) [Gulati10] Women: age adjusted HRmax = 206 - (0.88 × age) error: 6.4 bpm
|  |  | Select HR analysis method |  | Save HR rest measurement |  | Display HR max method 2 result |  | Display HR history in the selected interval (in graph) | Current HR cardiograph | Select HR analysis interval |  | Display brief information of Tachycardia |  |  |  |  | Information about accuracy indication
|  |  |  | Signal strength | Get the HR signal strength | Accuracy indication | Estimate accuracy of current HR measurement based on the signal strength |  | Display HR rest history in the selected interval |  | Filter HR cardiograph data to remove artifact and noise |  | Display and save diagnostic result
[7 empty] | Display current HR measurement accuracy level |  | Display HR max threshold lines on tracking graph | Select HR analysis method | Calculate beat-to-beat NN inteval (based on cardiograph) | Diagnosis based on HRV
SDANN - the standard deviation of the average NN intervals calculated over short periods, usually 5 minutes.
RMSSD - the square root of the mean squared difference of successive NNs
NN50 - the number of pairs of successive NNs that differ by more than 50 ms
pNN50 - the proportion of NN50 divided by total number of NNs
NN20 - the number of pairs of successive NNs that differ by more than 20 ms
pNN20 - the proportion of NN20 divided by total number of NNs

## Fitness
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
3 | Fitness tracking | Fitness tracking configuration | Enable/Disable feature | Check HR rest data availability | Check HR rest data availability | Target HR calculation | Check target HR calculation method | Heart rate tracking | Start/stop exercise tracking | Heart rate analysis | Calculate average heart rate of the exercise |  |  |  |  | exercise report | Display exercise report | Information about target HR | Information about target HR
|  | heart rate monitor configuration | Select target HR calculation method |  | Request HR rest measurement if not available |  | Calculate target HR using general gender-age method |  | Indicate current target HR zone |  | Get maximum HR of exercise | [5 empty] | Display date, time, duration | Information about target HR zones | Information about target HR zones
|  | Custom target zones | Choose target zone 1-5 | Current HR measurement | Measure current HR repeatitively |  | Calculate target HR using [Karvonen88] method |  | Alarm if transition from one zone to other | HR in different zones analysis | Calculate average HR in different zones | [5 empty] | Display exercise program
|  |  | Select target HR calculation with different zone method |  |  | Target HR calculation with different zones | Check target HR calculation with different zones method |  | alarm if current HR is outside the target zone |  | Get maximum HR of different zones | [5 empty] | Display statistics: time in zones, average HR, maximum HR
|  | Custom exercise programs | Display exercise program configuration with default values |  |  |  | Calculate target HR with differrent zones using genaral method |  | alarm if the current HR is higher HR max | [6 empty] | Pedometer report | Display pedometer report
|  |  | Custom exercise program - multistages with time and heart rate zone set for each stage |  |  |  | Calculate target HR with differrent zones using Zola method |  | Display time in zones (countdown) | [6 empty] | calories burned report | Display calories burned report
|  |  | Audio and visual setting when transition from one stage to another stage | [13 empty] | Print fitness tracking report
Reset exercise program
|  | Favorite exercise program settings | List favorite exercise programs
Set favorite exercise program
|  | Pedometer configuration | Display pedometer configuration | Basic measurement | Step count | Basic calculation | Estimate current speed | Activity tracking | Start/stop pedometer | Activity evaluation | Evaluate activity over time through target distance
|  |  | Target setting |  | Get the walking/running time |  | Estimate average speed |  | Display step count |  | Activity suggestion
|  |  | Remind setting |  |  |  | Estimate current distance |  | Display time
|  |  | Reset feature configuration to default values | [5 empty] | Display current speed
Display average speed
Target remind
|  | Calories burned configuration | Select calories burned calculation method |  |  | Calories burned calculation | Check calories burned calculation method | Calories burned tracking
Calculate using [Keytel05] method
Calculate using [Dugas05] method table 3
[6 empty] | Calorie needs per day | Get Basal metabolic rate (BMR)
multiplying BMRby an activity factor (McArdle et al 1996).

## SpO2
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
4 | SpO2 monitoring | SpO2 monitoring settings | Enable/Disable feature | SpO2 measurement | Check sensor availability | SpO2 Accuracy indication | Estimate accuracy of current SpO2 measurement based on the signal strength | SpO2 tracking | Check SpO2 tracking mode | Statistical analysis | Select analysis interval | For nomal testing | warning if there is SpO2 levels <90% | For nomal testing | SpO2 levels <90%, recommendation: See your doctor | Report SpO2 monitor | Select report settings: interval, type, information | Limitations | Display SpO2 Limitations
|  | Tracking mode settings | Select tracking mode (Normal testing, Sleep apnea syndrome, COPD patient, Patient on long-term oxigen therapy, Asthma) |  | Check sensor validity |  | Display current SpO2 measurement accuracy level |  | Display current SpO2 tracking mode |  | Calculate statistical params: mean, max, min, std | For sleep apnea syndrome monitoring | warning if there are series of SpO2 level < 90% | For sleep apnea syndrome monitoring | if having warnings and If total score is 6 or under, you are doing well and deserve a pat on the back; if your score is 7 or 8, you are average; if your score is 9 and above, you have a problem and should seek help. |  | Display report result | Tips | Using Pulse oximeter with weak pulse and recommendation
|  |  | Custom warning threshold for each tracking mode |  | Get SpO2 value |  |  |  | Display SpO2 graph vs time of each tracking mode | For nomal testing | check SpO2 level<90% |  | warning if SpO2 values changes <=4% | For COPD patients | Recommendation: see your doctor immediately if SpO2 < 92% |  |  |  | Using Pulse oximeter with cold hand and recommendation
|  |  | Custom measurement period for each tracking mode |  | Display SpO2 value |  |  | SpO2 alarm | Alarm if SpO2 level out of tracking mode threshold | For sleep apnea syndrome monitoring | check SpO2 level<90% |  | requesting clinical score if there is warnings | For patients on long-term oxygen therapy | Recommendation: see your doctor immediately if SpO2 < 90% |  |  | Warning signs | Display SpO2 warning signs
|  |  |  | SpO2 signal strength measurement | Get the SpO2 signal strength |  |  |  | Display notification if SpO2 level out of tracking mode threshold |  | check SpO2 values changes <=4% |  | checking clinical score | For asthma patients | Recommendation: see your doctor immediately if SpO2 < 92% |  |  | Troubleshooting | Pulse oximeter Troubleshooting
[8 empty] | SpO2 history | Select display interval | For COPD patients | check SpO2 level<92% | For Chronic Obstructive Pulmonary Disease (COPD) patients | warning if SpO2 level < 92% | For acute respiratory infections | Patients with a score of 1 or 2 may need hospital admission and those with scores of 3 or 4 need urgent hospital admission, especially if Sp02<92% |  |  | Diseases related to the decrease in SpO2% (most common clinical manifestations that accompany reduced blood oxygen levels) [Anzueto10] | Anemia
[9 empty] | Display SpO2 history graph in selected interval | For patients on long-term oxygen therapy | check SpO2 level<90% | For patients on long-term oxygen therapy | warning if SpO2 level < 90% | [5 empty] | Lung disorders
[9 empty] | Display warning history in selected interval | For asthma patients | check SpO2 level<92% (before treatment with broncholidators) | For asthma patients | warning if SpO2 level < 92% | [5 empty] | Infection
[10 empty] | For acute respiratory infections (including influenza and community accquired pneumonia CAP) | check SpO2 level<92% (in a previous healthy individual who is not receiving oxygen therapy) | For acute respiratory infections | warning if SpO2 level < 92% (in a previous healthy individual who is not receiving oxygen therapy) | [5 empty] | Circulation problems
[13 empty] | checking clinical features CRB65: _Confusion (new onset) _Respiratory rate >30 / minute _Blood pressure systolic <90mmHg, diastolic <60mmHg _65 years of age or older Score one point for each of the CRB65 component | [5 empty] | Metabolic problems

## Sleep
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
5 | Sleep monitoring | Sleep monitoring settings | Enable/Disable feature | Activity measurement | Get activity level from sensor |  |  | Sleep tracking | Display sleep graph of time vs wake up time, sleep quality, duration indication of one night | Sleep analysis | Determine resting heart rate from HR | Sleep duration diagnostics | Evaluate risk in increase of Diabetes based on sleep duaration, age and BMI | Sleep duration | Recommend risk in increase of Diabetes based on sleep duaration, age and BMI | Report sleep monitoring | Select report settings: interval, type, information
|  | Set wake up alarm | Enable/Disable wake up alarm | Resting heart rate measurement | Get HR from measurement device |  |  |  | Select tracking interval |  | Determine number of wake up times from activity level and HR |  | Evaluate risk in increase of BMI and obesity based on sleep duaration |  | Recommend risk in increase of BMI and obesity based on sleep duaration |  | Display report result
|  |  | Select Auto based on sleep time estimation or Manual | Skin response measurement | Get skin resistance from measurement devide |  |  |  | Display sleep graph of multi night |  | Determine Sleep duration estimation from activity level, HR and wake up times |  | Evaluate risk in increase of coronary heart disease in women |  | Recommend risk in increase of coronary heart disease in women
|  |  |  | Ambient temperature measurement | Get ambient temperature from measurement devide | [5 empty] | Determine Sleep quality from activity level, HR and skin resistance |  | Evaluate risk in increase of Hypertension |  | Recommend risk in increase of Hypertension
|  |  |  | Humidity measurement | Get humidity from measurement devide |  |  |  |  | Sleep statictics | Estimate mean, std of sleep params: Number of wake up times, sleep quality, sleep duration over a long time (1 month for example)
Compare to general ranges

## Body
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
6 | Body measurement | Body measurement settings | Enable/Disable feature | Body measurement | Get parameters needed for the calculation | Calculation | Body Mass Index (BMI) | Body measurement tracking | Select interval |  |  | BMI | Evaluate health risk based on BMI range | BMI | Recommendation on health risk based on BMI range | Body measurement report | Select report settings: interval, type, information | Help | Display explaination of body measurement parameters, formula
|  |  | Check availability of parameters needed for the calculation |  | mass [kg or lb] |  | BMI prime |  | Display body measurement history |  |  | BMI Prime | Evaluate weight conditions based on BMI Prime range | BMI Prime | Recommendation on health risk based on BMI Prime range |  | Display report result
|  |  | Request parameters if needed |  | height [cm or inch] |  | Check idea weight calculation method |  |  |  |  | Ideal Weight | Evaluate current weight with ideal weight | Ideal Weight | Recommend # of lbs/kgs user should get/lose compare to ideal weight
|  |  | Select idea weight calculation method |  | gender |  | Calculate idea weight based on height weight chart |  |  |  |  | Waist to Hip Ratio (WHR) | Compare Waist to Hip Ratio to abdominal obesity threshold and Increased health risk threshold | Waist to Hip Ratio (WHR) | Give recommendation base on diagnostic results
|  |  | Select BF% chart |  | waist [cm or inch] |  | Calculate idea weight based on formula |  |  |  |  | Body Fat Percentage (BF%) | Check BF% chart selected | Body Fat Percentage (BF%) | Give recommendation base on diagnostic results: # of lbs/kgs user should get/lose based on healthy range
|  |  | Select BMR calculation method |  | hip [cm or inch] |  | Waist to Hip Ratio (WHR) | [5 empty] | Compare BF% to Tanita chart, get diagnostic result | Metabolic age | Recommend for diagnostic result
[5 empty] | age |  | Check BF% chart selected | [5 empty] | Compare BF% to Brainy chart, get diagnostic result
[5 empty] | activity factor |  | Calculate BF% method 1 |  |  |  |  | Metabolic age | Compare age with metabolic age
Calculate BF% method 2
Calculate BF% method 3
Body adiposity index (BAI)
Calculate Lean Body Weight (LBW)
Calculate muscle percentage
Check BMR calculation method
Calculate BMR method 1 (Roza Shizgal)
Calculate BMR method 2 (Mufflin)
Calculate BMR method 3 (Katch-McArdle)
Calculate BMR method 4 (Cunningham)
Calculate Calories needs per day
Calculate ideal BMR vs age chart
Calculate current BMR and compare to ideal chart to get metabolic age

## Temperature
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
7 | Skin/body temperature monitoring | Temperature monitoring settings | Enable/Disable feature | Temperature measurement | Check sensor availability |  |  | Temperature Tracking | Select interval | Statistical analysis | Calculate mean, std of temperature in a day | Diagnosis | if body temperature > 99.6 and < 103 degree, diagnose as fever | Recommendation | if diagnosed as heat stroke, user should come to see doctor | Temperature monitoring report | Select report settings: interval, type, information
|  |  | Select operating mode: Auto/Manual |  | Get temperature value |  |  |  | Display graph of temperature vs time |  | Check if body temperature > 99.6 degree and < 103 degree |  | if body temperature > 103 degree, skin resistance decreases and HR increases, ask user other indications: diziness, headache, nausea, user is over 65. If yes, diagnose as heat stroke |  | if diagnosed as heat stroke, user needs to cool down quickly and call for help immediately |  | Display report result
|  |  | Manual setting: Time, Duration, Warning threshold | [5 empty] | Display graph of average temperature vs date |  | if body temperature > 103 degree, check if skin resistance decreases and HR increase
[9 empty] | Dislay warning thresholds |  | Check if body temperature > 103 degree
if body temperature > 103 degree, check if skin resistance decreases and HR increase

## Fertility
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
8 | Fertitlity monitoring | Fertitlity monitoring settings | Enable/Disable feature | Temperature measurement | Check measurement mode |  |  | Fertitlity Tracking | Select interval | Statistical analysis | Calculate number of day of periods |  |  |  |  | Fertitlity monitoringreport | Select report settings: interval, type, information
|  |  | Select measurement mode Auto or manual |  | Auto - measuring temperature based on wake up detection in sleep tracking |  |  |  | Display graph of temperature vs date |  | Calculate variation of period | [5 empty] | Display report result
[5 empty] | Manual temperature measurement |  |  |  | Select beginning day of each period | Advanced notice most fertility date | Advanced notice most fertility date based on temperature and beginning day of periods
Interpolate temperature value values of an ommited day (if any) based on the previous day and the next day values

## Stress
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
9 | Mental status monitoring | Mental status settings | Enable/Disable feature | Mental status Measurement | Get HR from measurement device |  |  | Mental status Tracking | Select interval | Mental status analysis | Evaluate metal status level with respect to HR, skin resistance and blood pulse volume |  |  |  |  | Mental status report | Select report settings: interval, type, information
|  |  | Calibration |  | Get Skin resistance from measurement device |  |  |  | Display graph of parameters vs time | [7 empty] | Display report result
Get Blood Pusle volume from measurement device

## Position
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
10 | Patient position monitoring | Patient position settings | Enable/Disable feature | Position Measurement | Get activity level from measurement device |  |  | Position Tracking | Select interval | Position Analysis | Set warning if the activity level is out of range
|  |  | Custom thresholds | [5 empty] | Display graph of activity vs time
Display warnings if any

## Report
Feature set
# | Functional | Settings |  | Measurement |  | Calculation |  | Tracking |  | Analysis |  | Diagnosis |  | Recommendation |  | Report |  | Help
|  | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case | Feature | Use case
11 | Patient chart/report | Report settings | Select full report or short report
Select functions will be reported
Select graph type: running chart, bar, color pattern
Select table type
Select interval

## Sheet2
User profile | Report | Help
Heart rate monitoring | SpO2 Monitoring | Skin/body Temperature tracking
Body measurement monitoring | Sleep Monitoring | Fertility tracking
Fitness tracking | Mental status/Stress Monitoring | Position monitoring

## Sheet3
Heart rate monitoring